## Slide 1: Grid Integration: The Ocean State Perspective
NECPUC Annual Symposium
Marion S. Gold
RI Energy Commissioner
June 17, 2014

## Slide 2: RI Office of Energy Resources
  The OER is the lead state agency on energy policy and programmatic matters
  The OER works closely with diverse partners to advance Rhode Island as a national leader in the new clean energy economy
“Leading Rhode Island to a secure, cost-effective, and sustainable energy future.”
Energy Security
Energy Efficiency
Renewable Energy
Transportation
RI OER
Utilities & Regulators
Private Sector & Industry
Stakeholders & Advocates
Policymakers & Agencies

## Slide 3: RI State Energy Plan
A secure, cost-effective, sustainable energy future
Electric Sector
Thermal Sector
Transportation Sector
“In 2035, Rhode Island provides energy services across all sectors—electricity, thermal, and transportation—using a secure, cost-effective, and sustainable energy system.”
Notes: Of the responsibilities of our office is state energy planning. RI had done a qualitative energy plan in 2002 and was created before any of the significant pieces of energy legislation guiding the energy system had been enacted including the renewable energy standard, least cost procurement or decoupling.
We worked with a 20 member advisory group to develop a data-driven analysis of RI energy futures using as a vision statement …….

## Slide 4
Navigant modeled three energy future scenarios
Scenario 1 (Security)
Scenario 2 (Cost-Effectiveness)
Scenario 3 (Sustainability)
Prioritizes energy security through fuel diversification and grid modernization
Prioritizes cost-effectiveness and economic development while hitting key targets for GHG reduction
Prioritizes the sustainability of Rhode Island’s energy economy through the widespread deployment of renewables, thermal alternatives, and vehicle electrification
Energy Modeling
Notes: To develop the energy plan we modeled three energy future scenarios – one that maximized energy security through fuel diversification and grid modernization; one that maximized cost-effectiveness and economic development and a third that prioritizes the sustainability of Rhode Island’s energy economy through the widespread deployment of renewables, thermal alternatives, and vehicle electrification
Set Goals
Identify measurable targets for providing energy services using a resource mix that meets a set of criteria advancing the health, environmental, economic, and human wellbeing of the people, communities, and environment of Rhode Island.

## Slide 5: RISEP Targets
Scenario modeling shows Rhode Island can:
A Secure, Cost-Effective, and Sustainable Energy Future
Increase fuel diversity in each sector above 2013 levels
Produce economy-wide net benefits
Reduce greenhouse gas emissions 45% below 2013 levels
Notes: When we ran the models, we found that an achievable energy future would include increasing fuel diversity in each sector above current levels while increasing economy-wide net benefits and reducing greenhouse gases 45% below 2013 levels – on track for 80% reduction by 2050.

## Slide 6: 20 RISEP Policy Recommendations: “All-Of-The-Above” Clean Energy Strategy
Thermal & Transportation
Mobilize capital and reduce costs
Sustainability
Energy Efficiency
Electric
Cost-Effectiveness
Maximize energy efficiency in all sectors
Promote local and regional renewable energy
Develop markets for alternative thermal and transportation fuels
Security
Make strategic investments in energy infrastructure
Reduce greenhouse gas emissions
Notes: To achieve these goals, we are in the process of finalizing the plan which includes an all of the above clean energy strategy including maximizing energy efficiency in all sectors, expansion of local renewable energy and regional renewable energy, making strategic investments in energy infrastructure and mobilizing capital to appropriately allocate costs.

## Slide 7: Grid Modernization Emerged as a Top Priority
Notes: All future energy scenarios modeled by Navigant showed increases in energy storage, renewable generation, electric vehicles, and other distributed energy resources so modernizing and upgrading the grid to integrate these resources emerged as a top priority – as it has in other states. We are watching closely the Grid Modernization work underway in MA and NY.
The electric distribution grid of the future must provide a platform to effectively integrate and facilitate the adoption of these technologies. Furthermore, grid modernization will assist efforts to meet the RISEP energy security target of increased fuel diversification by supporting a growth in electric sector renewable energy and increased electrification of the thermal and transportation sectors

## Slide 8
Notes: RI – a one utility state – except for two small municipals utilities. NGRID – is a progressive partner; reorganized to provide state jurisdictional leads two years ago so we have state leadership/advocates within the context of a regional and international company.
RI offers the opportunity for the utility and the state – the regulators, the executive branch and the legislature – to work together – sometimes in advance of what is happening in other parts of the service territory and sometimes taken advantage of lessons learned.
RI also partners with other states in the region through NESCOE, NECPUC, NASEO and NEEP
Grid integration – NGRID is deeply involved, and in fact, was a leader in the grid modernization docket in MA. Signed on to the “Utility of the Future” scenario.
NGRID also involved in NY REV

## Slide 9: Moving towards Grid Integration: Least-Cost Procurement
All cost-effective electric and natural gas energy efficiency – RI’s first supply resource!
Notes: The foundation of our efforts is our energy efficiency program. Through investments in EE, RI has bent the supply curve downward and with EE investments reducing energy dd by 12%.
National Grid has become increasingly sophisticated in delivering efficiency services, meeting and exceeding our targets for efficiency which are some of the highest in the nation.

## Slide 10: Moving Towards Grid Integration: Least-Cost Distribution Planning
2006 RI Comprehensive Energy Act established LCP and also laid out a process to guide least-cost distribution infrastructure investments
Utility must screen “non-wires alternatives”—customer-sited resources such as targeted energy efficiency, demand response, and distributed generation—against proposed poles and wires solutions to evaluate reducing/shifting load to defer a distribution or transmission investment
Notes: LCP in RI is not just about EE supply resources but also least-cost distribution infrastructure investments
RI SRP – reducing/shifting load to defer a distribution or transmission investment
RI requires that the utility screen “non-wires alternatives”—customer-sited resources such as targeted energy efficiency, demand response, and distributed generation—against proposed poles and wires solutions

## Slide 11: First SRP Pilot Project: Demand Link
Two Feeders out of Tiverton substation serving Tiverton & Little Compton
  Forecasted to be overloaded starting in 2014
  Potential for ~5,600 affected Customers: 80% Residential, 20% C&I
  Wires solution – substation upgrade – would have cost $2.9 million in 2014
  Non-wires Goal: provide load relief starting in 2014, up to 1MW by 2017

## Slide 12: Demand Link Technologies & Methods
2012 Components
  Wi-fi Thermostats for Central AC Units
  Enhanced Promotion for EE Audits
  DR Lighting Ballast (Commercial Only)
2013 Enhancements
  Wi-fi Thermostats and Smart Plugs for Window AC Units
  Energy Star Window AC Purchase Rebates
  AC Unit Recycle Rebates
  Increased Direct Marketing
  Community Event

## Slide 13: Moving Toward Grid Integration: Integrating DG, EE & DR
Solarize Campaign for
Rooftop Solar
Grid Support Solar Field
Battery Storage
Notes: RGGI funds used to pilot targeted renewable distributed generation as a viable NWA in distribution planning
OER and National Grid are completing a study to evaluate the potential of distributed solar to provide sustained, reliable load relief along with the other technologies used in the Demand Link Pilot to lead to a distribution investment deferrals
Understanding costs, benefits, and screening methodologies for using solar in the SRP and distribution planning
The solar/storage resource portfolio includes one commercial-scale ground-mounted solar project of approximately 300 kW (the “Grid Support Solar Field”), a mix of rooftop PV systems totaling 100 kW (“Solarize Rooftops”), and approximately 75 kW of battery storage. The implementation strategy recommends a competitive procurement for a developer for the Grid Support Solar Field, a Solarize campaign for the Solarize Rooftops, and direct procurement via ownership or lease by National Grid for the battery storage. The strategy leverages existing renewable energy incentive programs in Rhode Island, including the Distributed Generation Standard Contracts Program (“DG Program”) for the Grid Support Solar Field and Renewable Energy Fund (“REF”) incentives for the Solarize Rooftops.

## Slide 14: Grid Integration: What’s Next?
2014 legislation expands DG program by 5 times & provides incentives for geotargeting
  Allows utility to coordinate solar projects with EE programs to ‘right-size’ to minimize costs
  Rate docket in July 2015: how to charge for grid services associated with DG
We are using Three Year EE/SRP plans to explore how to more fully integrate gas/electricity/EE/DR & RE ---and how to pay for it
Notes: ‘RI legislation passed to expand the successful Distributed Generation Standard Contracts Program (DG Program) from 40 to 200 MW by 2019
Legislation authorizes incentivizing DG projects in geographical areas with an identifiable system benefit, reliability benefit, or cost savings to the distribution system
Provision to allow utility to coordinate small and medium solar enrollments with EE program offerings – “right-sizing”

## Slide 15: Important Initiatives
  Modernize the electric grid to enable customer choices (integration of renewable sources, EV, co-generation, energy storage, HEM devices, micro-grids)
  Enable customers to make informed decisions about their energy consumption and needs
  Develop real time information and communications for faster restoration
Notes: National Grid is deeply engaged in both the MA and the NYS grid modernization initiatives and we are learning from the process in RI --- while moving ahead with grid integration pilot programs in the ocean state.

## Slide 16: Energy Future
We are moving toward cleaner generation, improved energy networks, and additional customer-side choices and services
Improved partnership with customers and utilization of DER to assist power resiliency and stability
A clear and coordinated set of national and regional energy policies will expedite progress:
  Energy Efficiency, New and Integrated Technologies
  Renewable Energy policies
  Environmental policies (influencing generation mix)
Notes: Again – to go back to the slides shared by National Grid last week – the utility is pondering the same questions and, while we test things on the ground in RI, we are also following the NY and MA process to determine which issues also need to be addressed in RI --- how and when.

## Slide 17
Notes: Worth noting that the same vision of a more fully integrated, dynamic and decentralized grid is shared by energy advocates in the region. This is diagram used by Environment Northeast as part of their Energy Vision.
Of course, as always, the devil is in the details. What will be the role will utilities play versus new energy service companies? Can we better understand how to increase cost savings to consumers by examining the full range of funding opportunities?
restructure rates so as to increase cost savings to consumers

## Slide 18: Grid Integration Challenges
How do we harness emerging market solutions and other regulatory and policy incentives to spur grid integration and possibly lower costs by using market-based mechanisms to procure energy and capacity savings?

## Slide 19: Grid Integration Challenges
How to incentivize utilities and new energy service companies to increase grid integration to manage peak demand and optimize grid performance?
energy efficiency
demand response
energy storage
distributed generation
gas and electric infrastructure reliability

## Slide 20
Special thanks:
  Nick Ucci, Danny Musher, RI Office of Energy Resources
  Fouad Dagher National Grid
  Abigail Anthony, ENE
Contact Information:
Marion.Gold@energy.ri.gov
401-574-9119