## Slide 1: Concurrent Session Natural Gas Future Pathways

## Slide 2: Mapping Out the Transition: NPAs

## Slide 3: NPAs seek to minimize infrastructure investments on the Gas System
Capacity Expansion
Electrification
Optimized Usage
Customers convert heating equipment in a coordinated manner, avoided investment
Electric heat pumps paired with a gas furnace or boiler, demand response, EE
Development of “right sizing” the gas system to avoid full expansion of pipe/equipment
Thermal Networks
New networked geothermal, or other distributed fuels
Spectrum of Non-Pipeline Alternatives

## Slide 4: Elements of an Effective Managed Transition Plan
Planning
Other Major Considerations
Identification of Opportunities: Develop strategies for areas of electrification and avoided infrastructures
  Cast Iron Replacement
  Targeted neighborhoods
  Large customer upgrades
Policy & Planning Integration: Framework for consideration of environmental, safety, and equity issues. Clear plans for evaluation of costs and benefits of opportunities. Defined pilot programs for targeted electrification and NPA pipeline demonstration projects.
Safety: Utilities are required to make state or federally required safety investments into their systems for new equipment or repairs
Prioritization: State Climate Goals, Community Improvements, Avoided Costs.

## Slide 5: NPA Considerations
Customer Choice & Cost
Coordination with EE Programs
Electric System Coordination & Reliability
Long-Term Planning & Clean Generation
High Upfront Costs
Customer Preferences
Managing “Holdout” Customers
Affordability and Equity
Integrated Energy Planning
Geographic Coordination
Cross Utility data sharing
Electric System Reliability (Winter Peak)
Integration of Programs (NPA and EE)
Benefit alignment especially for C/E
Customer Messaging
Geographic Targeting
Clean Generation Capacity
Planning Alignment (Summer/Winter)
Lifecycle GHG reductions
IRP and Regulatory Coordination
Near Term
Long Term
System
Local

## Slide 6
Zeyneb Magavi
NECPUC May 2025
Notes: HEET is a non-profit focused on designing and delivering an ethical thermal energy transition. We accept no funding from stakeholders we influence such as the fossil fuel, geothermal, and development industries.

## Slide 7
The ‘Thermal Opportunity’
“The technical potential of geothermal would be more than enough to meet all heat demand in Africa, China, Europe, Southeast Asia, and the United States.”
IEA December 2024
The earth last year absorbed, as thermal energy, more than ten times the energy, of all forms, that all of humanity used.
Notes: A key slide bringing the thermal opportunity into view…
Climate change is a thermal energy management challenge… it causes an increase in ‘ambient geothermal energy’ throughout the earth – in the ocean, in the bedrock, and a wee bit in the air.
That excess thermal energy is ‘anthropogenic’… and tapping it can help BOTH prevent a changing climate and mitigate and restore our climate.

## Slide 8
All Geothermal Technologies
provide STABLE non-intermittent energy
Ambient Geothermal is the Anywhere Geo
Notes: Definition of the geothermal technology family.

## Slide 9
Components of a Thermal Energy Network each contribute efficiencies
Each component is OLD TECH.
Together they are NEW TECH.
BUILDINGS :
(Geothermal Heating & Cooling Equipment)
distribution system: (Thermal Energy Network)
THERMAL ENERGY RESOURCES
Geothermal Boreholes
Wastewater Exchange
Industrial Waste Heat
Lakes, Rivers, Ponds
A million other Thermal Opportunities . . .
Notes: So is this really new?
Yes and No.
Each component of the technology is old. Put together this way it is new.

## Slide 10
First Gas Utility Geothermal Network
Eversource Framingham Demonstration
135 Customers
Mixed-Use
1 mile loop in street
Retrofits provided
Bills & Electric Grid load predicted to be lowered
Notes: This is the ribbon cutting ceremony in summer of 2024 and on the left is the local firestation – a customer on the network.

## Slide 11
☐ High Safety & Security
☐ 100% Combustion-Free
☐ Reliable & Resilient
☐ Scalable & Adaptable
☐ Workforce just transition
☐ Equitable access
☐ Affordable for consumer
☐ Economic for utility
☐ Speed & Scale needed
☐ Reduces Water Use
☐ Benefits Electric Grid
✓
✓
✓
✓
✓
✓
✓
✓
✓
✓
✓
Demonstration Projects have established the potential to deliver each of these outcomes
. . .
dependent on both design and on policy.
Notes: Recently the first gas utility installation of a single pipe ambient temperature geothermal network was completed. This demonstrates the real potential for every one of these core needs to be met.

## Slide 12
https://www.youtube.com/watch?v=mvOoBL-et7U
The IFC (World Bank) has initiated Geothermal Networks in Turkiye, Pakistan, Kyrgyzstan, Tajikistan, Uzbekistan, and Jordan at the 10,000 building scale.
Turkiye: https://lnkd.in/d4JD4eF3 Kyrgyzstan: https://lnkd.in/dAh68e6y Pakistan: https://lnkd.in/e3_bE-5B Jordan: https://lnkd.in/dDDCU9AN
Notes: Including internationally. Watch this: https://www.youtube.com/watch?v=qjDLp8raebk

## Slide 13
HEET licenses
all materials
for open sharing
& adapting
under
Creative Commons
CC BY-AS 4.0
#ThinkThermalTogether
Notes: So that’s it. What is really needed right now is for everyone to do the hard work of bringing people together and getting our boots dirty putting these in the ground.
If you want to help make this a reality you can scan this code to add your name to a growing number who would like geo service available on their street!
You can also help enormously by supporting HEET as we strive to multisolve and support this decarbonization pathway with an unusual combination of scientific rigor hand in hand with ethics centering relationship-based change leadership.
Thank you.

## Slide 15
APPROACH
To design and drive systems change HEET builds relationships of trust, identifies system levers that can drive alignment including data and policy, and then innovates and iterates until alignment across the system allows us to move fast and far - together!
MOVES AT
SPEED OF TRUST
Engage All
Stakeholders
Innovate &
Iterate to Align
Identify System Levers

## Slide 16
INITIATIVES 2025
These are the eight initiatives under which all our projects reside. Our grants sometimes include multiple initiatives and our teams work across them. The eighth initiative, in the center is not necessarily presented in our funder decks but is instead an internal initiative..
Thermal Research & Innovation
Includes LeGUp, cool power, technoeconomic modelling, GIS/mapping, & Seasource
Project Pipeline
TENs, GENs & thermal sources
Resource Hub
Includes website, Toolkit, Maps, Databank & HEET Publications & Library
Policy
Legislation & Regulation, Gas to Geo, Thermal Commons and Thermal Marketplace
Coalitions & Communities
Advocates, regulators, utilities, academics, workers, and community members
Triage
Methane emissions & stranded asset reduction
Workforce Development
Includes Geo Driller Training, Education & Center of Excellence Collaboration
Strong HEET
Notes: Thermal Research Consortium
Cultivation of Project Pipeline - wary of line here
Cultivation of Workforce - same
Innovation Incubator
Add network to the Coalitions & Coalitions - Human Energy Networks - HENs - incubating and hatching
prioritizing relationships - 1:1 - what people value.
Bringing people together
Curated and open source resource hub
Policy - data guided ethical policy
HEET foundation:
Accounting compliant with GAP
Logistics robust
Human resources - beyond compliance - create environment to attract & retain top talent - mentorship/growth path - team culture
Tech systems strong and secure
Fundraising - current and future grants and donors engaged and excited.
organizational structure matches organizational goals

## Slide 17
1/3
As much as one-third of global warming today comes from methane emissions of all kinds
Notes: One of our first projects addressing methane mapped methane leaks in our aging gas distribution infrastructure as this impacts many.

## Slide 18
$1.4 trillion
The U.S. will invest $1.4 trillion in new gas infrastructure between now and 2050
Notes: Our next focus was on the challenge of our aging gas infrastructure itself.
Impact on Cost.
Gas pipe replacement or new installation costs billions that may be stranded when we meet emissions goals. The U.S. will invest $1.4 trillion in new gas distribution infrastructure between now and 2050, which will not move us towards our climate goals.
Source: HEET Leaked and Combusted report https://cdn.prod.website-files.com/649aeb5aaa8188e00cea66bb/663a27270c0fa4fffcfe447d_Leaked-and-Combusted-May-2024.pdf

## Slide 19
$2.5 Trillion
US grid mod costs by 2035, raising energy costs
Notes: Understanding that our gas and electric infrastructures work in synergy to provide societal energy needs means thinking about the whole energy system
A number from a 2023 IEA report paired with a screenshot of publicly available electric capacity constraints for downtown Boston.

## Slide 20
The majority of the energy we use is wasted, much of it is
Thermal energy.
Notes: Waste thermal is also an opportunity.

## Slide 21
ENERGY NETWORK ?
Geothermal Energy Networks (GENs)
are a subset of
Thermal Energy Networks (TENs)
which are a subset of
5G Districts.
Notes: Putting it all together in one chart – what is a thermal energy or geothermal energy network? It is a specific type of district energy that uses geothermal energy. This is provided here for your reference and was created to address the very variable and/or missing definitions in state laws and regs. Also, just because we get SO MANY questions on this. ☺

## Slide 22
There are lots of HEAT PUMPS:
1. Refrigerator!
2. Air Source
3. Geothermal
(a.k.a. ground source heat pump)
&
4. Industrial Scale!

## Slide 23
Sea water heat pump program?
Notes: There are more types of heat pumps than most people are aware of!

## Slide 24
Energy Reuse or ‘Load Cancelling’
(hours)
Ambient temp
Notes: Thermal networks provide both heating and cooling in a single pipe – the water’s ambient temperature allows for increased energy efficiency between buildings.

## Slide 25
Energy Reuse or ‘Load Cancelling’
(months)
Ambient temp
Geothermal or other thermal storage
Notes: Adding geothermal boreholes or other thermal storage increases this efficiency over time.

## Slide 26
The single pipe ambient loop design HEET supports can grow flexibly; both in extent and in number of customers
AND can adapt to a changing climate
Ambient temp
Geothermal or other thermal storage
Single Pipe
Notes: Using the single pipe design makes it easiest for a utility-scale growth model – adding and interconnecting customers and infrastructure over time

## Slide 27
Which informed these Massachusetts Energy Bill Projections
Showing Geothermal Networks could have the lowest monthly energy bill for the customer
Castigliego, J., Alisalad, S., Stanton & E. (2021). When heating with gas costs more. Applied Economics Clinic. https://aeclinic.org/publicationpages/2021/01/13/inflection-point-when-heating-with-gas-costs-more

## Slide 28
The Falcon Curve
Showing future U.S. Building Electric Use
The efficiency of the technology matters at scale and drives grid impacts and integrated cost impacts.
https://doi.org/10.2172/2224191
Buonocore, J. J., Salimifard, P., Magavi, Z., & Allen, J. G. (2022). Inefficient Building Electrification Will Require Massive Buildout of Renewable Energy and Seasonal Energy Storage. Scientific Reports, 12(1), 11931–11931. https://doi.org/10.1038/s41598-022-15628-2

## Slide 29
ELECTRIC GRID IMPACT of Geothermal Heating & Cooling ‘Mass’ Deployment
Liu, X., Ho, J., Winick, J., Porse, S., Lian, J., Wang, X.,, Liu, W.,, Malhotra, M., Li, Y.,, & Anand, J.,. Grid Cost and Total Emissions Reductions Through Mass Deployment of Geothermal Heat Pumps for Building Heating and Cooling Electrification in the United States. United States. https://doi.org/10.2172/2224191
CO2e SAVED
Fewer Transmission lines
Less Generation Needed
38% reduction
13% reduction
Fuel Cost Savings
$19 Billion/year
Cheaper Whole Sale Electricity
7.34 MMTs
Cumulative U.S. savings > $1.5 Trillion (NPV)
12% reduction
Notes: These networks are able to rapidly share information as it comes out – for example this amazing national labs research showing the impact of geothermal heat pumps on the electric grid. As data and publications increase there is a growing awareness in the energy policy space.

## Slide 30
First-in-Nation Geothermal Driller Tech Tutorial
WORKFORCE DEVELOPMENT:
First-in-Nation Geothermal Drilling Technician Tutorial:
Classroom & Field
80-hr curriculum
7 graduates, all J40
Notes: But gas utilities have no geothermal drillers and there aren’t enough. This is both a key gap and an opportunity.

## Slide 31
HEET’s Geothermal Network Research Team
Notes: Another opportunity is the ability to collect extensive data, build models, and share learnings widely as these projects go in the ground. HEET is doing just that.

## Slide 32
KICKSTART: Community-led Project Initiation
Geothermal networks are a people-centered solution
Prioritize communities with the highest need
Increase access to education about geothermal
Support communities ready to transition energy at a utility-scale
Notes: Picture a future where energy transitions bring empowerment, equity, and opportunity to every community. With Kickstart Massachusetts, that future is already taking shape.​
By listening, learning, and building together we’ve learned a lot about the motivations of communities across the commonwealth to adopt geothermal:​
•Increased indoor air quality for children and elders with asthma​
•The provision of cooling in our warming climate​
•And the opportunity to have accessible renewable thermal hook up, without any qualifiers of income or education​
​
We, at HEET, ensure that anyone interested in learning and pursuing the path to adoption, has equitable access to education and resources about geothermal networks, with our assistance in navigating them the entire way through.​
Then, the communities can each choose for themselves.​ ​
At its heart, we are only facilitating the flow of information with the vision that once communities learn enough about the outcomes, they will request a network. Our programming is building a pipeline of shovel-ready projects, viewable to everyone on our website with the goal of highlighting the communities that are in fact ready to embrace a utility-scale transition where the benefits are shared by all.

## Slide 33
Advocacy Network
Notes: Behind the legislation is an advocacy network

## Slide 34
Notes: As well as a rapidly growing gas utility network!

## Slide 35
Why are Thermal Energy Networks so hot and so cool?
1. They tap ignored but ubiquitous energy resources
2. They are new yet ready now
3. They multi-solve our electric grid challenges, water shortages, security concerns, health and more.

## Slide 36: NECPUC Gas Heat Pump Slides
19-May-2025
Scott Reed, CEM, CMVP, MBA
VP Regulatory & Business Affairs
sreed@AnesiComfort.com

## Slide 37: What’s a Gas (Absorption) Heat Pump?
Patented 1859
2025
Now Modernized for 21st Century
Heat-driven cycle
Used to make Ice
Dominated cooling for 100+ years
Ferdinand Carré, inventor
Heating focused
Great in cold climates
Replaces furnaces, boilers, water heaters
Uses natural gas or propane (today); RNG or H2 (tomorrow)
Combustion and all refrigerants remain outside
Refrigerant: Zero Global Warming

## Slide 38: Application: Single-Family – Forced Air Heating
Reduces Energy, Operating Costs, Emissions – all by 30-50%.
Replaces gas furnace & water heater. Contractor-friendly.
No expensive upgrades to home.
Delivers full heating comfort expected by homeowners.
Low noise levels.
Outside combustion, venting.
All refrigerant remains outdoors.
Replacement or New Homes.
Custom
Air-Handling Unit
(replaces old furnace)
Indirect Water Storage Tank
Gas Absorption
Heat Pump

## Slide 39: Application: Single-Family – Hydronic Heating
Reduces Energy, Operating Costs, Emissions – all by 30-50%.
Replaces gas boiler & water heater. Contractor-friendly.
No expensive upgrades to home.
Delivers full heating comfort expected by homeowners.
Low noise levels.
Outside combustion, venting.
All refrigerant remains outdoors.
Replacement or New Homes.
Hydronic Zones
Indirect Water Storage Tank
Gas Absorption
Heat Pump
DHW
Zone …
Zone 3
Zone 2
Zone 1

## Slide 40: Lowest Operating Costs Across the Northeast



Hartford
Boston
Burlington
Electricity: $0.33 / kwh
Natural Gas: $1.80 / therm
Elec/Gas Ratio: 5.3
Electricity: $0.17 / kwh
Natural Gas: $1.37 / therm
Elec/Gas Ratio: 3.7
Electricity: $0.22 / kwh
Natural Gas: $1.98 / therm
Elec/Gas Ratio: 3.3

## Slide 41: Lowest Carbon Emissions Across the Northeast



Hartford
Boston
Burlington
Electricity: 1,500 lbs CO2e / kwh
Natural Gas: 149 lbs CO2e / mmBTU
Electricity: 1,500 lbs CO2e / kwh
Natural Gas: 149 lbs CO2e / mmBTU
Electricity: 1,500 lbs CO2e / kwh
Natural Gas: 149 lbs CO2e / mmBTU
Why 1,500? The CO2e emissions of the grid is counted as the last (marginal) generation resource that will be turned on as a function of adding new electric load to the grid. According to the load order, that is generally Simple-cycle Natural Gas generation (which must also firm the intermittency of wind and solar. *
* See “Understanding Marginal Carbon Factors and Why They Matter”, William Ryan, PhD, P.E.; ASHRAE Journal, January 2024

## Slide 42: A busy factory in Tennessee

## Slide 43: SUPPLEMENTAL SLIDES

## Slide 44: Stone Mountain Technologies, Inc.
$15 million Series A
Anesi Manufacturing Plant, 160,000 sqft
Johnson City, Tennessee., USA
$19 million R&D
2010
2025

## Slide 45: Capacity vs. Energy Efficiency

## Slide 46: Capacity vs. Energy Efficiency

## Slide 47: GAHPs Leverage Clean Molecules
46%
Offer 3
(best one)
$10.92 / GJ
41 kg/GJ
Adding GAHPs to Green Gas:
Faster ROI in RNG assets
Lower effective CO2e
per unit of heat-delivered
Reduce RNG Cost Impact
on End Users

## Slide 48: GAHP Benefits
Individual
AFUE 140%: uses 30-50% less gas (same reduction in heating bill)
Lowest cost of delivered heat
No change to comfort experience from previous furnace/boiler
No inconvenience/expensive upgrades to home
Operates down to −40°F/C without need of any backup or supplemental heat
Society
Lowest carbon footprint (in cool / cold climates)
Takes pressure off electric grid and generation during cold snaps
Helps relieve gas network congestion
Helps accelerate path to future clean-molecules in pipelines.

## Slide 49: GAHPs: No Backup Needed in Extreme Cold

## Slide 50: Two Initial Market Applications
Furnaces, Boilers, Water-heaters
Commercial Water Heating
Market Size (North America)
4 M gas furnaces
270 K gas boilers
5 M gas water heaters
Market Size (North America)
225 K gas water heaters
Single-Family Homes
Restaurant, Hospitality

## Slide 51: Anesi Products in Development
51
Custom
Air-Handling Unit
Indirect Storage Tank
Patents Pending
2-Cyle Heating and Cooling (with DHW) “Hybrid” Heat Pump
Best of both cycles (each plays to their strength)
Best-in-class Energy Efficiency
Single-box solution
Combustion, refrigerants, venting: all remains outside
Release Target: Q1-2027
Gas Absorption + Vapor Compression

## Slide 52: Key Benefits of GAHPs
Lowest Cost per unit of Delivered Heat
Lowest GHG Footprint per unit of Delivered Heat
Same comfort experience as before (furnace and boiler heat)
No inconvenience or expensive upgrades to home
Takes pressure off electric grid and generation during extreme cold
Helps accelerate path to future clean-molecules in pipeline network

## Slide 53: THANK YOU! (Questions?)
Scott Reed, CEM, CMVP, MBA
VP Regulatory & Business Affairs
sreed@AnesiComfort.com